Evos Calibration Measurements

|  |  |
| --- | --- |
| Objective | Microns/Pixel |
| 2x | 4.309 |
| 4x | 2.155 |
| 10x | 0.862 |
| 20x | 0.431 |
| 40x | 0.215 |

Printed out at 70% (properties🡪effects) for size nice for taping to side of Evos